## Sheet 1
WO# | LOC# | SITE NAME | DESCRIPTION | STATUS | PRIORITY | REPORTED | GROUP
708352 | 2095 | JOHNSON WALTER MS | PALM TREES NEED DEAD LEAVES REMOVED | APPR | 3 | 2012-07-02 11:54 | GROUNDS
708376 | 6350 | ASSOCIATE SUPERINTENDENT OF FACILITIES | Landscaping - severe water leak | APPR | 3 | 2012-07-02 12:39 | GROUNDS
708624 | 8010 | WALLIN SHIRLEY & BILL ES | SPRINKLER VALVE LEAKING | APPR | 3 | 2012-07-03 10:10 | GROUNDS
709052 | 3035 | CUNNINGHAM CYNTHIA ES | FOLLOW UP FROM 708569 OUTSIDE ONSITE CLINIC-ELECTRICAL SPRINKLER BOX HANGING OFF WALL | APPR | 3 | 2012-07-06 07:48 | GROUNDS
709894 | 3475 | HAYDEN DON ES | PIPE IS BROKEN WATER IS SHOOTING OUT 10 FT IN AIR | APPR | 4 | 2012-07-10 05:30 | GROUNDS
710947 | 7040 | BAILEY SISTER ROBERT JOSEPH ES | CHECK SPRINKLERS IN KINDER AND QUAD PLANTS ARE TURING BROWN | APPR | 3 | 2012-07-12 12:12 | GROUNDS
711041 | 6350 | ASSOCIATE SUPERINTENDENT OF FACILITIES | OUTSIDE NW SIDE OF BUILDING, DRIP SYSTEM IS NOT WORKING APPROPRIATELY | APPR | 3 | 2012-07-12 15:34 | GROUNDS
711493 | 1115 | LEGACY HS | BUS PARKING REMOVE KNOCK DOWN OR DAMAGED TREES | APPR | 3 | 2012-07-16 07:07 | GROUNDS
713780 | 3895 | GOLDFARB DAN ES | KINDERGARDEN PLAY GROUND | APPR | 3 | 2012-07-24 05:46 | GROUNDS
713997 | 1125 | MOJAVE HS | FOOTBALL FIELD TEAM BENCHES EXTERMINATE | APPR | 3 | 2012-07-24 10:37 | GROUNDS
716668 | 1130 | RANCHO HS EMP | (GROUNDS) BASEBALL FIELD, INSTALL QUICK CUPPLER BEHIND PITCHERS MOUND | APPR | 4 | 2012-08-01 07:53 | GROUNDS
716692 | 3940 | MENDOZA JOHN F ES | PARKING LOTS AND BLACK TOP-NEEDS SWEEPING | APPR | 3 | 2012-08-01 08:04 | GROUNDS
716963 | 6200 | EDUCATION SERVICES (CTRL ALT ED) | #128 ESD_ADULT ED TREE BY DOORS D AND E NEED TRIMMING | APPR | 3 | 2012-08-01 10:35 | GROUNDS
717015 | 1185 | CHAPARRAL HS EMP | GROUNDS, TRIM PALM TREES ENTIRE CAMPUS | APPR | 3 | 2012-08-01 11:05 | GROUNDS
717736 | 2005 | BROWN MAHLON MS | STREET SWEEPER NEEDED FOR FOR FRONT AND BACK PARKING LOTS OF SCHOOL | APPR | 3 | 2012-08-02 08:33 | GROUNDS
718417 | 1045 | LIBERTY HS | In front of school (Liberty HS), remove all plants and trees from the five (5) diamond shaped landscaping beds. | APPR | 3 | 2012-08-03 07:05 | GROUNDS
718508 | 2160 | SMITH JD MS | (GROUNDS) PRESSURE WASHER NEED SERVICE | APPR | 3 | 2012-08-03 08:46 | GROUNDS
718576 | 3885 | EDWARDS ELBERT ES | PLAY AREA SWEEPING/BASKETBALL COURTS | APPR | 3 | 2012-08-03 09:33 | GROUNDS
718957 | 7040 | BAILEY SISTER ROBERT JOSEPH ES | COURTYARD WEEDING | APPR | 3 | 2012-08-06 05:25 | GROUNDS
719218 | 3485 | HERR HELEN ES | BROKEN SPRINKLER HEADS ON FRONT LAWN BY PLAYGROUND | APPR | 3 | 2012-08-06 08:29 | GROUNDS
719931 | 3635 | BONNER JOHN W ES EMP | ATTRIUM WATER LEAK INTO WALL | APPR | 3 | 2012-08-07 08:36 | GROUNDS
719989 | 3895 | GOLDFARB DAN ES | THE POWER WASHER IS NOT STARTING, IT'S IN THE FIRE SPRINKLER RISER ROOM BEHIND THE STUDENT STORE #14 | APPR | 3 | 2012-08-07 09:19 | GROUNDS
720260 | 1110 | CHEYENNE HS EMP | TRACK AROUND FOOTBALL FIELD - NEEDS REPAIRS | APPR | 3 | 2012-08-07 13:26 | GROUNDS
721159 | 2015 | CANNON HELEN C MS | OUTSIDE GROUNDS | APPR | 3 | 2012-08-09 10:35 | GROUNDS
721378 | 2050 | SILVESTRI CHARLES MS | LEAF BLOWER | APPR | 3 | 2012-08-09 14:04 | GROUNDS
721946 | 1075 | CLARK HS EMP | THE PRESSURE WASHER IS NOT WORKING PROPERLY. | APPR | 3 | 2012-08-13 06:37 | GROUNDS
722132 | 3270 | DONDERO HARVEY N ES | POWER WASHER (LANDA) | APPR | 3 | 2012-08-13 08:10 | GROUNDS
722488 | 3945 | MOORE WILLIAM K ES | PARKING LOT NEEDS SWEEPING. | APPR | 3 | 2012-08-13 11:39 | GROUNDS
723211 | 2160 | SMITH JD MS | PRESSURE WASHER BURNER IS OUT WATER WON'T GET HOT | APPR | 3 | 2012-08-14 12:26 | GROUNDS
723571 | 2020 | CORTNEY FRANCIS H MS | THE FLOWERS AND BUSHES IN THE QUAD AND OUTSIDE THE BIKE RACK NEED TRIMED BACK | APPR | 3 | 2012-08-15 07:51 | GROUNDS
724241 | 3650 | BRYAN RICHARD H ES | PRESSURE WASHER WILL NOT START . | APPR | 3 | 2012-08-16 07:00 | GROUNDS
724561 | 3750 | LUMMIS WILLIAM ES | GAS BLOWER HARD TO START AND NO POWER BRAND ECHO MDL#PB251 SL#PO9012199012 | APPR | 3 | 2012-08-16 09:48 | GROUNDS
725271 | 3435 | CARSON KIT ES | THE REAR GARDEN AREA BESIDE THE BOILER ROOM NEED WEEDING | APPR | 3 | 2012-08-17 10:41 | GROUNDS
726177 | 1060 | BONANZA HS | FOOTBALL FIELD: HAVE 2 LARGE ANTHILLS ON HOME SIDE APX 30 YARD LINE. | APPR | 3 | 2012-08-20 11:31 | GROUNDS
726362 | 1155 | CIMARRON-MEMORIAL HS | REPAIR LANDA PRESSER WASHER HONDA MOTOR KEEPS SHUTING OFF S/N 11100380-100102 | APPR | 3 | 2012-08-20 13:30 | GROUNDS
726786 | 3850 | BECKLEY WILL ES | STREET SWEEPER FOR THE FRONT AND BACK PARKING LOT ALSO THE BLACKTOP ON PLAYGROUND | APPR | 3 | 2012-08-21 09:07 | GROUNDS
726831 | 3990 | THOMAS RUBY S ES | BROKEN SPRINKLER LINE AND SPRINKLER HEAD IN THE OUTSIDE AREA OF THE KINDER PLAYGROUND | APPR | 3 | 2012-08-21 09:37 | GROUNDS
728304 | 2115 | TARKANIAN LOIS & JERRY MS | POWER WASHER HAS 4 FLAT TIERS AND THE BURNER DOESN'T WORK | APPR | 3 | 2012-08-22 14:55 | GROUNDS
728814 | 2055 | WEBB DEL MS | 403(INSIDE CHILLER ROOM) - LANDA POWER WASHER NEEDS TO BE SERVICED | APPR | 3 | 2012-08-23 10:17 | GROUNDS
729369 | 1025 | DEL SOL HS | PARKING LOTS,NEED SWEEPER | APPR | 3 | 2012-08-24 06:57 | GROUNDS
729396 | 2205 | LEAVITT JUSTICE MYRON E MS | PALM TREES NEED TO BE TRIMMED | APPR | 3 | 2012-08-24 07:25 | GROUNDS
732031 | 1075 | CLARK HS EMP | GATOR STILL NOT RUNNING PROPERLY | APPR | 3 | 2012-08-28 13:34 | GROUNDS
732129 | 2050 | SILVESTRI CHARLES MS | POWER WASHER EX-CELL | APPR | 3 | 2012-08-28 14:51 | GROUNDS
732508 | 3810 | TARR SHEILA ES | COURTYARD REMOVING THE PALM TREES | APPR | 3 | 2012-08-29 09:07 | GROUNDS
732544 | 2270 | MARTIN ROY MS EMP | GAS PRESSURE WASHER, TO BE SERVICED. | APPR | 3 | 2012-08-29 09:18 | GROUNDS
733451 | 3225 | BATTERMAN KATHY L ES | SPRAY THE FEILD FOR RED ANTS | APPR | 3 | 2012-08-30 08:22 | GROUNDS
733906 | 3815 | THOMPSON SANDRA LEE ES | FRONT OF SCHOOL WEEDS IN FLOWER BEDS AS WELL AS SHRUB AREA | APPR | 3 | 2012-08-30 12:49 | GROUNDS
737503 | 1185 | CHAPARRAL HS EMP | GROUNDS - PRESSURE WASHER NEEDS REPAIR | APPR | 3 | 2012-09-06 15:52 | GROUNDS
737991 | 3860 | BROOKMAN EILEEN ES | FIELD TREE ROOTS ABOVE GROUND | APPR | 3 | 2012-09-07 11:21 | GROUNDS
738830 | 1190 | DESERT PINES HS | CUSTODIAL BILLY GOAT BLOWER. SCREWS FELL OUT AND BLADE IS NOT TURNING. | APPR | 3 | 2012-09-10 11:25 | GROUNDS
739421 | 7015 | PARK JOHN S ES EDISON | (GROUNDS) OUTSIDE ROOM 67 ELECTRICAL ACCESS PANEL HAS LARGE GAP ON SIDE | APPR | 3 | 2012-09-11 09:36 | GROUNDS
739792 | 2250 | KELLER DUANE D MS EMP | SPRAY ATHLETIC FIELD FOR ANTS | APPR | 3 | 2012-09-11 13:52 | GROUNDS
741446 | 7050 | ROUNDY OWEN DR C ES | RED ANTS IN THE MAIN FIELD, KIDS GETTING BITTEN | APPR | 3 | 2012-09-13 11:26 | GROUNDS
742160 | 2225 | SAVILLE ANTHONY MS | THERE ARE SEVERAL GOFFER HOLES ON THE FIELD | APPR | 3 | 2012-09-14 10:35 | GROUNDS
742380 | 1045 | LIBERTY HS | INSIDE COURTYARD TREES | APPR | 3 | 2012-09-14 13:09 | GROUNDS
742517 | 3965 | RUNDLE RICHARD ES | THE WHOLE SCHOOL FENCE LINE NEED TO BE SPARY ANTS AND THE FIELD | APPR | 3 | 2012-09-14 15:27 | GROUNDS
743337 | 1185 | CHAPARRAL HS EMP | STREET SWEEPER NEEDED | APPR | 3 | 2012-09-17 15:42 | GROUNDS
743433 | 2060 | WHITE THURMAN MS | ANT'S ON UPPER FIELD | APPR | 3 | 2012-09-18 07:20 | GROUNDS
744158 | 3930 | LONG WALTER V ES | ANTS ON THE FIELD/KIDS GETTING BIT | APPR | 3 | 2012-09-18 16:55 | GROUNDS
744875 | 3545 | MCCALL QUANNAH ES EMP | (6)BIG FIELD OUTSIDE NEED PESTICIDE FOR ANTS. | APPR | 3 | 2012-09-19 13:33 | GROUNDS
745713 | 7065 | O'ROARKE, THOMAS J ES | (6)GOPHERS ALL OVER BACK FIELD | APPR | 3 | 2012-09-20 14:27 | GROUNDS
745907 | 4060 | SOUTH CONTINUATION J/SHS (GORMAN) | 2 BIG TREES FACEING MARYLAND PKY NEED TO BE CUT BACK, AND SO DO ALL THE OTHER TREES ON CAMPUS. | APPR | 3 | 2012-09-21 08:38 | GROUNDS
745962 | 3965 | RUNDLE RICHARD ES | IRRIGATION WATER LEAKING | APPR | 3 | 2012-09-21 09:17 | GROUNDS
746627 | 3870 | DAILEY JACK ES | FIELD BY THE CASEY AVE GATE NEEDS TO BE SPRAYED FOR ANTS. | APPR | 3 | 2012-09-24 09:38 | GROUNDS
746865 | 3755 | LUNDY EARL B ES | PLAYGROUND NEEDS SAND & ROCKS REMOVED | APPR | 3 | 2012-09-24 12:44 | GROUNDS
747726 | 2135 | FINDLAY CLIFFORD MS | SHRUBS IN PLANTER NEXT TO PORTABLE. PLEASE SPRAY FOR BEES/WASPS. | APPR | 3 | 2012-09-25 14:38 | GROUNDS
748324 | 3565 | PERKINS UTE ES | LARGE GRASS FIELD AND KINDERGARTEN GRASS | APPR | 3 | 2012-09-26 12:22 | GROUNDS
749978 | 2125 | BRIDGER JIM MS EMP | IN THE AREA OF 710 & 711 WEEDS HAVE BEGUN TO SPROUT BETWEEN THE CRACKS OF THE CEMENT. PLEASE REMOVE THE WEEDS. | APPR | 3 | 2012-10-01 08:48 | GROUNDS
750068 | 2160 | SMITH JD MS | THE TAYLOR DUNN CART SMALL ONE WILL NOT GO INTO REVERSE | APPR | 3 | 2012-10-01 09:50 | GROUNDS
750857 | 3615 | WILLIAMS WENDELL ES EMP | RED ANTS ON THE FIELD | APPR | 3 | 2012-10-02 11:13 | GROUNDS
750893 | 3125 | MORROW SUE ES | OUTSIDE PLAYGROUND | APPR | 3 | 2012-10-02 12:09 | GROUNDS
751118 | 3615 | WILLIAMS WENDELL ES EMP | PLAYING FIELD FACING NORTH NEEDS PEST CONTROL TO SPRAY FOR ANTS IN THE GRASS, TEACHERS AND STUDENT BEING BITTEN BY LSRGE ANTS. | APPR | 3 | 2012-10-02 16:07 | GROUNDS
751541 | 7010 | PARADISE ES | COURTYARD GARDEN BEDS-PROVIDE AND PLANT FLOWERS | APPR | 3 | 2012-10-03 11:37 | GROUNDS
753933 | 3920 | IVERSON MERVIN ES | ANTS IN PLAYING FIELD | APPR | 3 | 2012-10-08 09:55 | GROUNDS
754002 | 3135 | REID HARRY ES | GROUNDS | APPR | 3 | 2012-10-08 10:34 | GROUNDS
754024 | 3900 | GRAGSON ORAN K ES | PLEASE SEND THE MOBILE SWEEPER TO DO THE FRONT AND BACK SCHOOL | APPR | 3 | 2012-10-08 10:48 | GROUNDS
755677 | 3105 | MACK NATE ES | INTERMEDIATE PLAYGROUND & SOCCER FIELD-ANT INFESTATION | APPR | 3 | 2012-10-10 12:35 | GROUNDS
756203 | 3075 | HILL CHARLOTTE ES | PALM TREES NEED PRUNING. (WEST SIDE) | APPR | 3 | 2012-10-11 10:00 | GROUNDS
757041 | 6010 | OPERATIONAL SERVICES DIVISION (ASC 2) | THE BUSHES AND TRESS NEED TO BE TRIMMED BY THE OMBUDSMAN PARKING SPACES | APPR | 3 | 2012-10-12 09:27 | GROUNDS
757793 | 2120 | BAILEY WILLIAM MS | IN RM 400 THE PRESSURER WASHER NEED A NEW HOSE AND GUN ALSO DOSE NOT HAVE PRESSURER WHEN YOU SPRAY IT | APPR | 3 | 2012-10-15 11:08 | GROUNDS
758028 | 7005 | WENGERT CYRIL ES | P59-C1227/TEACHER LOUNGE-SINKHOLES | APPR | 3 | 2012-10-15 14:00 | GROUNDS
758533 | 3480 | HEARD LOMIE ES | WE HAVE A BIG HOLE IN THE FIELD AREA IT IS DANGEROUS, I PUT SOME CONES | APPR | 3 | 2012-10-16 10:50 | GROUNDS
758956 | 7085 | KELLER CHARLOTTE & JERRY ES | ON THE DIRT BASEBALL FIELD, RIGHT BY HOME PLATE IS A HUGE ANT PILE. | APPR | 3 | 2012-10-16 14:11 | GROUNDS
760055 | 3570 | PRIEST RICHARD ES | BEE SWARM - FRONT PARKING LOT | APPR | 3 | 2012-10-18 11:30 | GROUNDS
760101 | 7035 | GILBERT CVT ES EMP | BROKEN WATER PIPE ON SOUTH FIELD | APPR | 3 | 2012-10-18 12:40 | GROUNDS
760118 | 2125 | BRIDGER JIM MS EMP | QUAD AREA AND PODS. WEEDS NEED TO BE PULLED AND GRASS CUT | APPR | 3 | 2012-10-18 13:18 | GROUNDS
760613 | 3495 | HICKEY LILIAM LUJAN ES | PARKING LOT FRONT ENTRANCE TO SCHOOL AND PLAYGROUND AREA NEEDS THE SWEEPER TO CLEAR DEBREE FROM CAMPUSE IF POSSIBLE, | APPR | 3 | 2012-10-19 11:02 | GROUNDS
760757 | 3110 | MCCAW GORDON ES | BASEBALL FIELD MAJOR ANT PROBLEM | APPR | 3 | 2012-10-19 13:08 | GROUNDS
761192 | 1190 | DESERT PINES HS | REPLANT TREE ACROSS FROM HOME SIDE FOOTBALL TICKET BOOTH | APPR | 3 | 2012-10-22 09:21 | GROUNDS
761245 | 1190 | DESERT PINES HS | METAL POST IN FRONT PARKING LOT OUT OF GROUND | APPR | 3 | 2012-10-22 09:56 | GROUNDS
761628 | 1055 | SE CAREER TECHNICAL ACAD EMP (SNVTC) HS | NO ROOM/REPAIR ABOVE GROUND SUPPLY WATER SYSTEM | APPR | 3 | 2012-10-23 04:54 | GROUNDS
761979 | 3095 | KING MARTHA P ES | DEAD TREES IN TORTOISE OASIS NEED REMOVED | APPR | 3 | 2012-10-23 10:30 | GROUNDS
762783 | 2290 | SEDWAY MARVIN M MS | OUTSIDE IN BACK OF SCHOOL PLEASE PUT BIG ROCK ALONG WALKWAY | APPR | 3 | 2012-10-24 13:08 | GROUNDS
762888 | 1020 | CORONADO HS | SOFTBALL FIELD SPRAY FOR ANTS | APPR | 3 | 2012-10-24 14:17 | GROUNDS
763161 | 1165 | VETERANS TRIBUTE CAREER & TECH ACAD EMP HS | (GROUNDS SEE NOTES) BLOCK WALL INSIDE OF BUILDING C LOCATED BY STAIRS LEAKED DURING THE LAST RAIN SEE DAMAGED WALL | APPR | 3 | 2012-10-25 09:10 | GROUNDS
763369 | 2010 | BURKHOLDER LYAL MS | CHECK/RELOCATE SPRINKLER LINES IN COURT YARD PLANTER BY STAIR CASE | APPR | 3 | 2012-10-25 12:31 | GROUNDS
763416 | 1240 | DESERT OASIS HS | (GROUNDS) TRIM OVERGROWN TALL PALM TREES (NEED LIFT) | APPR | 3 | 2012-10-25 13:15 | GROUNDS
764734 | 3980 | STANFORD ES | FRONT OF SCHOOL BROKEN CURBING AND DEAD PLANTS | APPR | 3 | 2012-10-30 16:03 | GROUNDS
766912 | 3615 | WILLIAMS WENDELL ES EMP | REMOVE WEEDS AND GRASS FROM GARDEN BEDS ESPECIALL SO. SIDE. TRIM TREES, BUSHES & GRASS FROM ENCLOSED GADEN BEDS ON J STREET REQUESTING MAINTENANCE ON A REG. BASIS. | APPR | 3 | 2012-11-01 14:12 | GROUNDS
767811 | 7035 | GILBERT CVT ES EMP | BEES NEAR THEATER EXIT DOOR | APPR | 3 | 2012-11-05 14:48 | GROUNDS
768070 | 3515 | LINCOLN ES EDISON | TREE OUTSIDE ROOM 12/LIBRARY - OVERGROWN, BRANCHES REACH GRASSY AREA - PLEASE TRIM | APPR | 3 | 2012-11-06 09:24 | GROUNDS
769274 | 3955 | RONNOW C C ES EDISON | THE BLACK TOP AREA IN BACK OF THE SCHOOL. SCHOOL IS HOLDING A FALL FESTIVAL. THE BLACK TOP WILL NEED TO BE POWER WASHED. | APPR | 3 | 2012-11-08 11:08 | GROUNDS
770422 | 2220 | ROGICH SIG MS | THROUGHOUT THE ENTIRE PERAMETERS OF THE SCHOOL - ALL PALM TREES NEED TO BE TRIMMED | APPR | 3 | 2012-11-13 10:03 | GROUNDS
771286 | 2125 | BRIDGER JIM MS EMP | THE SOCCER FIELD  HAS 6 TO 8 HUMPS THROUGHOUT THE FIELD AND AN IRRIGATION HOLE IN THE NORTHEAST CORNER AT THE GATE. (TRIPPING HAZARD) | APPR | 3 | 2012-11-14 11:39 | GROUNDS
771845 | 3850 | BECKLEY WILL ES | NORTH SIDE OF SCHOOL IN FIELD ON THE RIGHT SIDE THERE IS A BEE HIVE IN THE WATER BOX ON THE GROUND | APPR | 3 | 2012-11-15 10:01 | GROUNDS
772061 | 3260 | DERFELT HERBERT A ES | OUTSIDE SOUTHWEST AREA, PLANTER SOUTH OF THE BUS DROP OFF LOT | APPR | 3 | 2012-11-15 13:29 | GROUNDS
773703 | 2030 | GREENSPUN BARBARA & HANK MS | FRONT OF THE SCHOOL | APPR | 3 | 2012-11-20 06:35 | GROUNDS
773941 | 3690 | EISENBERG DOROTHY ES | FEBCO #" RPPA 825Y NON STOP LEAKING LOCATED ON FAR EAST BLACKTOP AREA | APPR | 3 | 2012-11-20 10:34 | GROUNDS
774578 | 3110 | MCCAW GORDON ES | BASEBALL FIELD AND GRASS ANT PROBLEM | APPR | 3 | 2012-11-21 10:22 | GROUNDS
775781 | 3750 | LUMMIS WILLIAM ES | NEED TO TRIM THE TREE BLOCKING THE SURVEILLANCE CAMERA LOCATION BESIDE THE BLDG PARKING LOT CLOSE THE DUMPSTER | APPR | 3 | 2012-11-27 10:51 | GROUNDS
777465 | 3385 | THIRIOT ES | NEED STREET SWEEPER | APPR | 3 | 2012-11-30 10:28 | GROUNDS
778362 | 5025 | YVONNE ATKINSON GATES CHILD DEV CTR | TREES NEEDS TO BE TRIMMED | APPR | 3 | 2012-12-04 07:32 | GROUNDS
779173 | 3190 | VANDERBURG JOHN ES | (GROUNDS) FRONT OF SCHOOL | APPR | 3 | 2012-12-05 11:18 | GROUNDS
780941 | 3920 | IVERSON MERVIN ES | HOLE IN PLAYING FIELD | APPR | 3 | 2012-12-10 10:50 | GROUNDS
781107 | 2125 | BRIDGER JIM MS EMP | WATER SPRINKLERS IN THE FRONT OF THE SCHOOL BY THE SAFENEST BOX IS DAMAGED AND IS RUNNING WATER. | APPR | 3 | 2012-12-10 13:44 | GROUNDS
782341 | 1035 | GREEN VALLEY HS | SOUTH END OF SOCCER FIELD-TRIM TREES | APPR | 3 | 2012-12-13 06:54 | GROUNDS
782826 | 2260 | WOODBURY CW MS | REMOVE OR SPRAY WEEDS ON SOFTBALL FIELD | APPR | 3 | 2012-12-13 14:34 | GROUNDS
783312 | 3810 | TARR SHEILA ES | THE PALMS IN THE COURTYARD NEED TO BE TAKEN OUT | APPR | 3 | 2012-12-14 10:21 | GROUNDS
783605 | 3765 | MCMILLAN JAMES B ES | SEVERAL HOLES IN ATHLETIC FIELD | APPR | 3 | 2012-12-14 15:12 | GROUNDS
784585 | 3990 | THOMAS RUBY S ES | PLEASE CUT DOWN YUCCA TREE IN FRONT OF CAMERA TO THE EAST PARKING LOT | APPR | 3 | 2012-12-18 08:14 | GROUNDS
785265 | 3080 | HINMAN EDNA F ES | REPAIR RPA 4" BACK FLOW VALVE | APPR | 3 | 2012-12-19 09:23 | GROUNDS
785585 | 3140 | ROBERTS AGGIE ES | PLEASE SPRAY ENTIRE SCHOOL INSIDE AND OUT FOR ANTS | APPR | 3 | 2012-12-19 15:30 | GROUNDS
785822 | 2005 | BROWN MAHLON MS | GROUNDS AROUND THE 300 WING FRONT AND BACK GROUNDS NEEDS ATTENTION" PER "ADMINISTRATION | APPR | 3 | 2012-12-20 09:48 | GROUNDS
786725 | 3265 | DISKIN PA ES | PARKING LOT AND BACK PLAY AREA-STEET SWEEP | APPR | 3 | 2012-12-26 15:21 | GROUNDS
787078 | 1020 | CORONADO HS | 520; GARDENER EQUIPMENT NEEDS MAINTENANCE | APPR | 3 | 2012-12-27 14:59 | GROUNDS
788259 | 5025 | YVONNE ATKINSON GATES CHILD DEV CTR | PARKING LOT NEED NEED STREET SWEEPING | APPR | 3 | 2013-01-03 10:47 | GROUNDS
788631 | 7005 | WENGERT CYRIL ES | OUTSIDE ADDITION/TEACHER LOUNGE SINK HOLE | APPR | 3 | 2013-01-04 10:32 | GROUNDS
789403 | 1220 | EAST CAREER & TECH HS | ATHLETIC FIELD IN BACK OF PROPERTY - TURF NEEDS SERVICE | APPR | 3 | 2013-01-07 13:32 | GROUNDS
789520 | 3485 | HERR HELEN ES | IRRIGATION VALVE NEAR DUMPSTERS LEAKING WATER | APPR | 3 | 2013-01-07 15:37 | GROUNDS
790463 | 3105 | MACK NATE ES | OUTSIDE IRRIGATION SYSTEM-LEAKING WATER | APPR | 3 | 2013-01-08 08:50 | GROUNDS
791905 | 2115 | TARKANIAN LOIS & JERRY MS | BLOWER WON'T START | APPR | 3 | 2013-01-10 10:33 | GROUNDS
791948 | 1220 | EAST CAREER & TECH HS | PALM TREES IN NEED OF TRIMING. | APPR | 3 | 2013-01-10 11:03 | GROUNDS
795563 | 3420 | BOWLER GRANT ES | NEXT TO KINDER AREA GROUNDS SPRINKLER ASSEMBLY HAS BROKEN VALVES AND LEAKING | APPR | 3 | 2013-01-16 09:37 | GROUNDS
797710 | 3035 | CUNNINGHAM CYNTHIA ES | OUTSIDE MP ROOM BY DUMPSTER ENCLOSER-EXCESSIVELY LEAKING WATER VALVE-SEE PICTURES | APPR | 3 | 2013-01-22 10:23 | GROUNDS
797864 | 1115 | LEGACY HS | FRONT OF SCHOOL GARDEN NEEDED | APPR | 3 | 2013-01-22 12:42 | GROUNDS
798408 | 1205 | LAS VEGAS ACADEMY HS EMP | QUAD AREA - LANDSCAPING - TREES NEED TO BE TRIMMED | APPR | 3 | 2013-01-23 12:58 | GROUNDS
799313 | 2010 | BURKHOLDER LYAL MS | WE NEED SOME TREE TRIMMED AND SOME WEEDS PULLED OUT FROM OUR COURT YARD AND QUAD AREA PLEASE THANKS. | APPR | 3 | 2013-01-25 10:40 | GROUNDS
799437 | 1130 | RANCHO HS EMP | SOFTBALL FIELD, RESINK ALL THREE BASES. COACH HAS BASES, NEEDS COFFEE CAN AND FEMALE END. RECONCRETE INTO GROUND | APPR | 3 | 2013-01-25 13:04 | GROUNDS
799884 | 2220 | ROGICH SIG MS | EXTERIOR OF THE SCHOOL - ALL PALM TREES NEED TO BE TRIMMED | APPR | 3 | 2013-01-28 09:47 | GROUNDS
801044 | 3985 | SUNRISE ACRES ES | BASEBALL FIELD | APPR | 3 | 2013-01-30 10:07 | GROUNDS
801124 | 3040 | DOOLEY JOHN ES | OUTSIDE FRONT PARKING LOT, BUS AREA AND PLAY GROUND | APPR | 3 | 2013-01-30 11:14 | GROUNDS
801303 | 3420 | BOWLER GRANT ES | STREET SWEEPING | APPR | 3 | 2013-01-30 14:25 | GROUNDS
801872 | 3355 | RIES ALDEANE COMITO ES | HOLES IN GRASS AREA NEAR BLACKTOP | APPR | 3 | 2013-01-31 14:40 | GROUNDS
802277 | 1190 | DESERT PINES HS | TENNIS COURTS-TREES NEED TO BE TRIMMED BACK FROM COURT. | APPR | 3 | 2013-02-01 11:45 | GROUNDS
802429 | 2125 | BRIDGER JIM MS EMP | LANDSCAPING ISSUES. (ALONG THE WALL BY THE COLLING TOWER, FRONT OF THE FENCE AND QUAD AREAS ARE GROWING DIRT AREAS AND HAVE EMPTY SPOTS.) | APPR | 3 | 2013-02-01 15:02 | GROUNDS
802950 | 1215 | WEST CAREER & TECHNICAL ACADEMY HS | REQUEST TO REPLACE SEVERAL DEAD PLANTS | APPR | 3 | 2013-02-04 13:06 | GROUNDS
803234 | 3600 | WATSON FREDRIC ES | THE PARKING LOT NEEDS THE STREET SWEEPER | APPR | 3 | 2013-02-05 08:15 | GROUNDS
803237 | 3600 | WATSON FREDRIC ES | THE FRONT TREES NEED TO BE TRIMMED | APPR | 3 | 2013-02-05 08:17 | GROUNDS
803817 | 3225 | BATTERMAN KATHY L ES | STREET SWEEP THE SCHOOL GROUNDS | APPR | 3 | 2013-02-06 08:19 | GROUNDS
803892 | 2010 | BURKHOLDER LYAL MS | WE HAVE BEES IN THE BUSHES BY THE GYM IN SIDE COURT YARD NEXT TO THE CAFETERIA | APPR | 3 | 2013-02-06 09:10 | GROUNDS
804355 | 3895 | GOLDFARB DAN ES | AT THE END OF THE DIRT ON BOTH OF THE KICKBALL FIELDS, LOTS OF ANTS | APPR | 3 | 2013-02-07 07:28 | GROUNDS
804735 | 1205 | LAS VEGAS ACADEMY HS EMP | VOCATIONAL BUILDING - TREE TRIMMED DOWN TO 3FT AND SHRUBS TRIMMED | APPR | 3 | 2013-02-07 14:42 | GROUNDS
804873 | 3485 | HERR HELEN ES | BROKEN PVC SPRINKLER PIPE LEAKING | APPR | 3 | 2013-02-08 07:08 | GROUNDS
806928 | 3580 | SQUIRES CP ES | AIR BLOWERS NOT WORKING | APPR | 3 | 2013-02-13 09:26 | GROUNDS
806991 | 2125 | BRIDGER JIM MS EMP | WEEDS ARE GROWING OUT OF THE CRACKS OF THE CEMENT IN THE COURT AREA. | APPR | 3 | 2013-02-13 09:57 | GROUNDS
807536 | 1240 | DESERT OASIS HS | ENTIRE CAMPUS-TRIM ALL PALM TREES | APPR | 3 | 2013-02-14 10:14 | GROUNDS
807581 | 6485 | NW ZONE MAINT ADMIN OFFICE (2) | SPRAY FOR WEEDS ENTIRE SITE | APPR | 3 | 2013-02-14 11:06 | GROUNDS
808165 | 3750 | LUMMIS WILLIAM ES | REDUCED PRESSURE VALVE LEAKING NEED TO BE SHUT OFF LOCATION COURT YARD | APPR | 3 | 2013-02-15 10:53 | GROUNDS
808793 | 1190 | DESERT PINES HS | BASEBALL FIELD-MULTIPLE REPAIRS ARE NEEDED. | APPR | 3 | 2013-02-19 13:03 | GROUNDS
809298 | 3675 | DARNELL MARSHALL C ES | CUSTODIAL - CHILLER LOCATION MTM PRESSURE SPAYER/WASHER WILL NOT START | APPR | 3 | 2013-02-20 10:43 | GROUNDS
809431 | 3670 | CULLEY PAUL E ES EMP | FRONT PARKING LOT 1200 N. MALLARD | APPR | 3 | 2013-02-20 12:58 | GROUNDS
810967 | 1205 | LAS VEGAS ACADEMY HS EMP | FIELD - NEED SPRAYING FOR WEEDS | APPR | 3 | 2013-02-25 13:01 | GROUNDS
811352 | 1225 | SW CAREER & TECH HS | IRRATING & FERTILIZING FIELD | APPR | 3 | 2013-02-26 09:07 | GROUNDS
811702 | 2125 | BRIDGER JIM MS EMP | QUAD AREA- THE PODS HAVE SEVERAL WEEDS. PORTABLE 510 & 512 HAS WEEDS GROWING WILD. | APPR | 3 | 2013-02-26 15:32 | GROUNDS
811745 | 1135 | VIRGIN VALLEY HS | STREET SWEEPER PARKING LOT | APPR | 3 | 2013-02-27 06:42 | GROUNDS
811761 | 7035 | GILBERT CVT ES EMP | BROKEN SPRINKLER HEAD ON FIELD | APPR | 3 | 2013-02-27 07:13 | GROUNDS
812585 | 2125 | BRIDGER JIM MS EMP | REQUESTING TO HAVE WEEDS PULLED OUT | APPR | 3 | 2013-02-28 11:56 | GROUNDS
812594 | 2125 | BRIDGER JIM MS EMP | GRASS AREA AROUND 900 WING- REQUESTING TO HAVE THE TREE BRANCHES CUT | APPR | 3 | 2013-02-28 12:12 | GROUNDS
812896 | 3500 | JEFFERS JAY ES | PORTABLES ROOMS AREA | APPR | 3 | 2013-03-01 07:11 | GROUNDS
813189 | 3710 | GIVENS LINDA RANKIN ES | LEAK ON KINDERGARTEN GRASSY FIELD WATER PUDDLING AND BUBBLING | APPR | 2 | 2013-03-01 12:31 | GROUNDS
814579 | 3770 | MCWILLIAMS JT ES | TO THE ATTN.OF ED GASKIN TWO TREES AT FRONT CAUSING HAZARDS TO BUILDING AND FLAGS PLEASE NEED TRINNING SEE ALBERT PAGE HEAD CUSTODIAN | APPR | 3 | 2013-03-05 15:22 | GROUNDS
815255 | 1045 | LIBERTY HS | ROCK AND DIRT ON THE SIDE OF THE BASEBALL FILED | APPR | 3 | 2013-03-07 07:56 | GROUNDS
815270 | 3760 | MAY ERNEST ES | BROKEN SPRINKLER IN FRONT OF SCHOOL | APPR | 2 | 2013-03-07 08:08 | GROUNDS
815825 | 7035 | GILBERT CVT ES EMP | ADJUST SPRINKLER TIMERS ON FIELD | APPR | 3 | 2013-03-08 07:09 | GROUNDS
815864 | 3765 | MCMILLAN JAMES B ES | REMOVE TREE STUMP FROM FRONT LAWN IT IS A TRIPPING HAZZARD | APPR | 3 | 2013-03-08 07:42 | GROUNDS
816430 | 1115 | LEGACY HS | REPAIR TIRES ON FLAT SPORTS EQUIPMENT CART | APPR | 3 | 2013-03-11 07:09 | GROUNDS
817305 | 1115 | LEGACY HS | INSTALL MEMORY GARDEN IN FRONT OF SCHOOL | APPR | 4 | 2013-03-12 11:29 | GROUNDS
817312 | 3680 | DESKIN RUTHE ES | POT HOLES IN THE FEILD NEED FILL IN | APPR | 3 | 2013-03-12 11:47 | GROUNDS
817948 | 6485 | NW ZONE MAINT ADMIN OFFICE (2) | SPRAY FOR WEEDS ENTIRE SITE | APPR | 3 | 2013-03-13 12:21 | GROUNDS
818832 | 2270 | MARTIN ROY MS EMP | BLOWER 125BT WILL NOT RUN LONGER THEN 10 MIN. BEFORE SHUTING DOWN. | APPR | 3 | 2013-03-14 17:17 | GROUNDS
820112 | 3305 | GRAY GUILD R ES | OUTSIDE IN THE PARKING LOT TWO TREES IS DOWN | INPRG | 3 | 2013-03-19 08:05 | GROUNDS
820156 | 3390 | VEGAS VERDES ES | PRESSURE WASHER NEEDS SERVICE WONT START | APPR | 3 | 2013-03-19 08:33 | GROUNDS
820340 | 2205 | LEAVITT JUSTICE MYRON E MS | PLANTER IN FRONT OF 600 AND 800 WINGS HAVE TWO EACH SPRINKLER HEADS THAT ARE BROKE AND FLOODING THE BED AND SIDEWALK. | APPR | 3 | 2013-03-19 10:44 | GROUNDS
820584 | 2195 | GIBSON ROBERT O MS EMP | NEED WEEDS CUT ON FIELD EAST SIDE OF SCHOOL . | APPR | 3 | 2013-03-19 17:49 | GROUNDS
820675 | 3915 | HOLLINGSWORTH HOWARD E ES | NEED SOME TYPE OF RETAINER WALL AROUND BUS LANDSCAPE | APPR | 3 | 2013-03-20 07:26 | GROUNDS
821013 | 3365 | SANDY VALLEY ES | SOFTBALL FIELD | APPR | 3 | 2013-03-20 10:56 | GROUNDS
821644 | 7090 | BOZARTH HENRY & EVELYN ES | WATER THE GRASS ON THE FIELD IT IS DRY | APPR | 3 | 2013-03-21 13:05 | GROUNDS
822719 | 3895 | GOLDFARB DAN ES | TREE ROOTS ARE LIFTING UP THE WEST FENCE CAUSING THE TOP RAIL TO COME LOOSE AND CRACKING THE FOOTINGS | APPR | 3 | 2013-03-25 14:54 | GROUNDS
822943 | 3225 | BATTERMAN KATHY L ES | BIG ROCK PLACED IN FRONT OF SCHOOL SEE HEAD CUSTODIAN | APPR | 3 | 2013-03-27 07:20 | GROUNDS
824248 | 1170 | PALO VERDE HS | (INV) SHOT PUT SECTOR LINES TOO WIDE FOR SNOA TRACK OFFICIALS | APPR | 3 | 2013-04-02 07:28 | GROUNDS
824953 | 7095 | TRIGGS VINCENT L ES | PLANTERS IN FRONT OF SCHOOL NEED MORE DIRT | APPR | 3 | 2013-04-03 08:11 | GROUNDS
827558 | 2045 | SCHOFIELD JACK LUND MS | MY POWER WASHERS WILL NOT START | APPR | 3 | 2013-04-03 15:11 | GROUNDS
827562 | 2045 | SCHOFIELD JACK LUND MS | MY LARGE POWER WASHER HAS A NEW BATTERY BUT WILL NOT START | APPR | 3 | 2013-04-03 15:16 | GROUNDS
829900 | 1240 | DESERT OASIS HS | GROUNDS MOWER SHOP -REPAIR FIELD LINING PAINT SPRAYER | APPR | 3 | 2013-04-05 15:30 | GROUNDS
830057 | 1185 | CHAPARRAL HS EMP | TRIP ALL PINE TREES ON CAMPUS | APPR | 3 | 2013-04-08 08:01 | GROUNDS
830787 | 7075 | DIAZ RUBEN P ES | FRONT OF SCHOOL - WATER IS RUNNING CONSTANTLY IN THE PLANT BUSH | APPR | 3 | 2013-04-09 10:01 | GROUNDS
831833 | 3385 | THIRIOT ES | PRESSURE WASHER IS NOT WORKING LEAKING WATER | APPR | 3 | 2013-04-11 07:13 | GROUNDS
832690 | 3505 | KELLY MATT ES EMP | TREE IN BACK PARKING LOT NEEDS TO BE TRIMMED . SECURITY IS UNABLE TO VIEW IMAGE FROM CAMERA PROPERLY | APPR | 3 | 2013-04-12 11:50 | GROUNDS
833143 | 3390 | VEGAS VERDES ES | LOTS OF DEAD LIMBS | APPR | 3 | 2013-04-15 09:27 | GROUNDS
833330 | 3580 | SQUIRES CP ES | TRIMM PALM TREES IN FORNT OF SCHOOL | APPR | 3 | 2013-04-15 10:37 | GROUNDS
833463 | 3215 | ADCOCK OK ES | FIELD ON HYDE AVE | APPR | 3 | 2013-04-15 13:33 | GROUNDS
833474 | 3215 | ADCOCK OK ES | SPRINKERS IN FLOWER BED ON HYDE AVE | APPR | 3 | 2013-04-15 13:47 | GROUNDS
834020 | 7005 | WENGERT CYRIL ES | (GROUNDS) EAST SIDE OF SCHOOL/LEAK IN GROUND | APPR | 3 | 2013-04-16 11:05 | GROUNDS
834984 | 3725 | HECKETHORN HOWARD E ES | FRONT OF SCHOOL. PLEASE TRIM PALM TREES. THEY HAVE LOTS OF DEAD BRANCHES. | APPR | 3 | 2013-04-17 16:17 | GROUNDS
835282 | 3515 | LINCOLN ES EDISON | TREE BRANCHES BY ROOM 11 NEEDS TO BE TRIMMED | APPR | 3 | 2013-04-18 10:30 | GROUNDS
835345 | 3815 | THOMPSON SANDRA LEE ES | COURTYARD/BUSHES OVERGROWN | APPR | 3 | 2013-04-18 11:27 | GROUNDS
835450 | 1075 | CLARK HS EMP | 3RD BASE NEEDS TO BE REPAIRED | APPR | 3 | 2013-04-18 13:59 | GROUNDS
835562 | 2205 | LEAVITT JUSTICE MYRON E MS | TRIM ALL PLAMS OF DEAD LIIMBS ESPECIALLY THE ONE BY THE FLAG POLE. THE FLAGS ARE GETTING CAUGHT AND RIPPED IN THE DEAD LIMBS. | APPR | 3 | 2013-04-19 06:23 | GROUNDS
835698 | 3480 | HEARD LOMIE ES | WE NEED ROCKS ON THE FRONT TO THE SCHOOL | APPR | 3 | 2013-04-19 09:14 | GROUNDS
835854 | 1030 | FOOTHILL HS | BEE HIVE FORMING NEAR FIRE HYDRANT ACROSS FROM TENNIS COURT RAMP IN UNDERGROUND ELECTRICAL BOX | APPR | 3 | 2013-04-19 11:09 | GROUNDS
836121 | 3600 | WATSON FREDRIC ES | THE PARKING LOT NEEDS THE STREET SWEEPER | APPR | 3 | 2013-04-22 07:13 | GROUNDS
836230 | 7040 | BAILEY SISTER ROBERT JOSEPH ES | KINDER PLAYGROUND AREA BROKEN SPRINKLER HEAD | APPR | 3 | 2013-04-22 08:39 | GROUNDS
836350 | 3415 | ANTONELLO LEE ES EMP | GRASS GROUNDS NEEDS TO BE TREATED FOR BUGS | APPR | 3 | 2013-04-22 10:21 | GROUNDS
836868 | 6650 | SEIGLE II ADMIN | OUTSIDE NEAR BLOCK WALL ROOTS FROM EUCALYPTUS TREE PUSHING UP BLOCK WALL AND BRANCHES ARE HANGING OVER | APPR | 3 | 2013-04-23 08:48 | GROUNDS
837404 | 1215 | WEST CAREER & TECHNICAL ACADEMY HS | REQUESTING A SLOW DRIP SYSTEM IN THE AREA BELOW THE STATUE LOCATED BY THE STAIRS LEADING TO LIBRARY | APPR | 3 | 2013-04-24 08:47 | GROUNDS
837564 | 3340 | OBER D'VORRE & HAL ES | COURTYARD PALM TREES | APPR | 3 | 2013-04-24 11:01 | GROUNDS
837889 | 2260 | WOODBURY CW MS | BROKEN PIPE ON EAST SIDE OF FIELD - FLOODED | APPR | 3 | 2013-04-25 08:27 | GROUNDS
837913 | 1045 | LIBERTY HS | DRIP IRRAIGTIONS | APPR | 3 | 2013-04-25 08:49 | GROUNDS
837951 | 1175 | SHADOW RIDGE HS | BEE'S IN FRONT PARKING LOT, BY GYM SIDE | APPR | 3 | 2013-04-25 09:15 | GROUNDS
838271 | 3990 | THOMAS RUBY S ES | BUSTED SPRINKLER IN FRONT OF ROOM 42 | APPR | 3 | 2013-04-25 13:55 | GROUNDS
838536 | 5025 | YVONNE ATKINSON GATES CHILD DEV CTR | TREES ON PLAYGROUND AREA NEEDS TRIMMING | APPR | 3 | 2013-04-26 09:36 | GROUNDS
839111 | 3910 | HEWETSON HALLE ES | GARDEN PLANTER IN FRONT OF STAFF LOUNGE NEEDS PLANT, PLANT WAS REMOVED SOME TIME AGO AND NEVER REPLACED | APPR | 3 | 2013-04-29 08:44 | GROUNDS
839570 | 3830 | WOLFE EVA ES | SPRINKLER HEAD FROM PLAYING FIELD IS IN MY OFFICE. DON'T KNOW WHERE IT GOES. ALSO THE FRONT OF SCHOOL MAY HAVE HEADS MISSING AS WATER IS RUNNING INTO PARKING LOT. | APPR | 3 | 2013-04-29 14:32 | GROUNDS
839633 | 3615 | WILLIAMS WENDELL ES EMP | FIELD DAY SPRINKLERS TURNED OFF | APPR | 3 | 2013-04-29 16:34 | GROUNDS
839688 | 3055 | GEHRING ROGER ES | THE CENTER CORTYARD IS OVERGROWN AND NEEDS TO BE MAINTAINED. | APPR | 3 | 2013-04-30 06:59 | GROUNDS
839692 | 1225 | SW CAREER & TECH HS | SPRINKLERS RUNNING DURRING EVENT | APPR | 3 | 2013-04-30 07:02 | GROUNDS
839689 | 3055 | GEHRING ROGER ES | PARKING LOT TREES AND BUSHES ARE OVERGROWN WHERE PEOPLE CAN NOT GET IN AND OUT OF THERE CARS BECAUSE THE BUSHES ARE SO OVERGROWN. | APPR | 3 | 2013-04-30 07:02 | GROUNDS
839938 | 1175 | SHADOW RIDGE HS | EXTERIOR PERIMETER CURB | APPR | 3 | 2013-04-30 08:30 | GROUNDS
840303 | 3860 | BROOKMAN EILEEN ES | FRONT OF SCHOOL HORNET OR WASPS FLYING IN/OUT OF HOLE IN SEAM OF CEMENT | APPR | 3 | 2013-04-30 11:49 | GROUNDS
840300 | 7005 | WENGERT CYRIL ES | KINDER PLAYGROUND/PIPE LEAKING | APPR | 3 | 2013-04-30 11:55 | GROUNDS
840624 | 3665 | CONNERS EILEEN ES | EMITTERS DRIPPERS LEAKING WATER 24/7 | APPR | 3 | 2013-05-01 07:14 | GROUNDS
840662 | 3900 | GRAGSON ORAN K ES | NEED TO ADD SOIL TO COVER TREE ROOTS AND RESTORE TURF AREAS | APPR | 3 | 2013-05-01 07:53 | GROUNDS
841082 | 2255 | ORR WILLIAM E MS | SPRINKLERS NOT WORKING DESERT AREA FRONT QUAD | APPR | 3 | 2013-05-01 13:41 | GROUNDS
841383 | 2040 | MILLER BOB MS | COZY HILL CIRCLE FROM CARNEGIE TO TENNIS COURTS=ALOT OF DEAD SHRUBBERY, DEAD PINE TREE AND DEBRI=PLEASE READ DETAILS | APPR | 3 | 2013-05-02 08:49 | GROUNDS
842063 | 3760 | MAY ERNEST ES | STANDING WATER ON BASEBALL DIAMOND ALL WEEK POSSIBLE LEAK | APPR | 3 | 2013-05-03 10:18 | GROUNDS
842070 | 3760 | MAY ERNEST ES | PIPE LEAKING IN COURTYARD. | APPR | 3 | 2013-05-03 10:20 | GROUNDS
843080 | 6410 | SEIGLE DIAGNOSTIC ADMIN | TREE REMOVAL AND REPLACEMENT | APPR | 3 | 2013-05-06 08:29 | GROUNDS
843160 | 3790 | RHODES BETSY ES | PRIMARY PLAYGROUND UNIT(GAMETIME) THE WWWDS ARE GROWING UP BETWEEN THE ASPHALT AND THE SAFETY SUFACE | APPR | 3 | 2013-05-06 09:27 | GROUNDS
843303 | 3150 | SEWELL CT ES EMP | SPRAY FOR ANTS AROUND GRASS AREA BY COOLING TOWER | APPR | 3 | 2013-05-06 11:27 | GROUNDS
843656 | 3270 | DONDERO HARVEY N ES | FRONT YARD PLANT NEW PLANTS | APPR | 3 | 2013-05-07 08:20 | GROUNDS
843718 | 2065 | CANARELLI LAWRENCE & HEIDI MS | LOC. PLANTERS - BROKEN WATER SPRINKLERS | APPR | 3 | 2013-05-07 09:26 | GROUNDS
843850 | 7085 | KELLER CHARLOTTE & JERRY ES | THERE IS RED ANTS IN THE PLYGROUND. | APPR | 3 | 2013-05-07 11:15 | GROUNDS
844096 | 6280 | FOOD/PURCHASING COLD STORAGE/WHSE | REPAIR DAMAGE FROM TRUCK ACCIDENT. | APPR | 3 | 2013-05-08 07:26 | GROUNDS
844233 | 2135 | FINDLAY CLIFFORD MS | 402-HEAD CUST. OFFICE. REPAIR BLOWER. | APPR | 3 | 2013-05-08 09:09 | GROUNDS
845464 | 3040 | DOOLEY JOHN ES | TREES OUTSIDE | APPR | 3 | 2013-05-10 14:59 | GROUNDS
846078 | 2080 | FAISS WILBUR AND THERESA MS | ROOM 200 EXTERIOR DOOR | APPR | 3 | 2013-05-13 12:49 | GROUNDS
846453 | 6200 | EDUCATION SERVICES (CTRL ALT ED) | #128 EDUCATION SERVICES | APPR | 3 | 2013-05-14 09:15 | GROUNDS
846525 | 3570 | PRIEST RICHARD ES | AREA 96 PANDA PLAZA WASP NEST REMOVAL | APPR | 3 | 2013-05-14 09:59 | GROUNDS
846840 | 2220 | ROGICH SIG MS | EXTERIOR OF THE BUILDING- PALM TREES NEED TO BE TRIMMED | APPR | 3 | 2013-05-14 15:24 | GROUNDS
846871 | 2190 | ESCOBEDO EDMUNDO MS | NEW PLANTS TO REPLACE THE ONES THAT ARE DEAD. | APPR | 3 | 2013-05-14 19:19 | GROUNDS
846936 | 3160 | TAYLOR GLEN ES | WATER LEAK IN FRONT PARKING LOT | APPR | 3 | 2013-05-15 07:47 | GROUNDS
847255 | 1215 | WEST CAREER & TECHNICAL ACADEMY HS | REQUESTING TO STAKE ALL TREES AT WCTA. BADLY NEEDED | APPR | 3 | 2013-05-15 10:51 | GROUNDS
847574 | 1190 | DESERT PINES HS | BUS LANE-TREES NEED TO BE TRIMMED. BUSES ARE HITTING THEM. | APPR | 3 | 2013-05-15 14:48 | GROUNDS
847668 | 4010 | COWAN SUNSET SOUTHEAST HS | RESET TIMERS FOR SPRINKLETS COMING ON DURING GYM CLASSE | APPR | 3 | 2013-05-16 07:14 | GROUNDS
847874 | 3925 | LAKE ROBERT ES | NEED SPRAYED FOR WEEDS | APPR | 3 | 2013-05-16 11:06 | GROUNDS
848292 | 1140 | ARBOR VIEW HS | THE FRONT OF SCHOOL GRASS AREA IS TURNING BROWN AND IS VERY DRY ITS NOT GETTING ANY WATER | APPR | 3 | 2013-05-17 09:48 | GROUNDS
848757 | 1090 | SIERRA VISTA HS | ROOM 405;BACK OF THEATER-WASP NEST | APPR | 3 | 2013-05-20 07:11 | GROUNDS
849180 | 3775 | NEAL JOSEPH M ES | GOPHER HOLE BEHIND PORTABLE C1348 | APPR | 3 | 2013-05-20 14:05 | GROUNDS
849444 | 2115 | TARKANIAN LOIS & JERRY MS | SPLINKER HEADS BROKE IN PLANTER BOXES FROM 200 -800 WING | APPR | 3 | 2013-05-21 09:15 | GROUNDS
850089 | 1060 | BONANZA HS | SOCCER FIELD HAS MULTIPLE UNCOVERED OR BROKEN SPRINKLER HEADS | APPR | 3 | 2013-05-22 13:16 | GROUNDS
850356 | 3245 | BRYAN ROGER ES | PALM TREES IN FRONT OF SCHOOL | APPR | 3 | 2013-05-23 07:17 | GROUNDS
850389 | 1055 | SE CAREER TECHNICAL ACAD EMP (SNVTC) HS | COURTYARD/TRIM/THIN OUT PINE TREES | APPR | 3 | 2013-05-23 07:50 | GROUNDS
851098 | 1025 | DEL SOL HS | REPAIR BROKEN SPRINKLERS | APPR | 3 | 2013-05-28 06:50 | GROUNDS
851329 | 3175 | TOMIYASU BILL Y ES | KINDERGARTEN AREA TREE BRANCH | APPR | 3 | 2013-05-28 10:44 | GROUNDS
851473 | 3085 | HUMMEL JOHN R ES | FRONT PLANTERS BROKEN SPRINKLER HEADS | APPR | 3 | 2013-05-28 13:45 | GROUNDS
851822 | 3470 | FITZGERALD HP ES | SHRUB NEEDS TO BE TRIMMED TO THE RIGHT GOING TO THE MAIN HALLWAYS | APPR | 3 | 2013-05-29 10:44 | GROUNDS
851980 | 4045 | PETERSON BEHAVIOR J/SHS | BACK SIDE OF SCHOOL FIELD AREA RIGHT CORNER OF PORTABLE 12 SPRINKER CAME OUT OF GROUND | APPR | 3 | 2013-05-29 14:15 | GROUNDS
852833 | 3150 | SEWELL CT ES EMP | SPRA Y FOR LARGE WEEDS IN COURT YARD AND AROUND CAMPUS | APPR | 3 | 2013-05-30 15:33 | GROUNDS
852866 | 2030 | GREENSPUN BARBARA & HANK MS | FRONT OF SCHOOL SPRINKLER REPAIR | APPR | 3 | 2013-05-31 06:43 | GROUNDS
853116 | 3565 | PERKINS UTE ES | LARGE GRASS FIELD | APPR | 3 | 2013-05-31 10:19 | GROUNDS
853179 | 3880 | EARL IRA J ES | TREES NEED TRIMMING ON MONROE ST.SIDE OF FACILITY | APPR | 3 | 2013-05-31 11:00 | GROUNDS
853541 | 3620 | WOOLLEY GWENDOLYN ES | EMERG. CALL-OUT: WATER FLOWING ONTO STREET DUE TO BROKEN SPRINKLER | INPRG | 1 | 2013-06-03 06:32 | GROUNDS
853869 | 1240 | DESERT OASIS HS | FOOTBALL AND SOCCER FIELDS | APPR | 3 | 2013-06-03 10:17 | GROUNDS
854071 | 1190 | DESERT PINES HS | SOCCER FIELD-LEAKING SPRINKLERS | APPR | 3 | 2013-06-03 13:25 | GROUNDS
854080 | 1155 | CIMARRON-MEMORIAL HS | BASEBALL FIELD, RE-INSTALL SPRINKLERS ALONG LEFT FIELD FENCE LINE | APPR | 3 | 2013-06-03 13:33 | GROUNDS
854584 | 2095 | JOHNSON WALTER MS | DEAD BRANCHES ON PALM TREES IN QUAD NEED TO BE REMOVED | APPR | 3 | 2013-06-04 11:36 | GROUNDS
854763 | 2070 | CASHMAN JAMES MS EMP | TRIM ALL TRESS AND BUSHES BETWEEN CASHMAN MS AND AREA SERVICE 3 OFFICE SO THAT THE BRANCHES DO NOT OBSTRUCT WALKING PATHS OR RUB AGAINST THE BUILDING | APPR | 3 | 2013-06-04 15:45 | GROUNDS
854871 | 3620 | WOOLLEY GWENDOLYN ES | SHRUBS IN COURTYARD NEED TO BE REMOVED | APPR | 3 | 2013-06-05 08:26 | GROUNDS
855049 | 6410 | SEIGLE DIAGNOSTIC ADMIN | DIRT AND LANDSCAPING | APPR | 3 | 2013-06-05 11:32 | GROUNDS
855161 | 1210 | VALLEY HS EMP | NEED A QUICK CONNECT 1 INCH FOR THE HEAD CUSTODIAN TO HOOK UP A GARDEN HOSE OUTSIDE FOR A PRESSURE WASHER | APPR | 3 | 2013-06-05 14:23 | GROUNDS
855706 | 3055 | GEHRING ROGER ES | KINDERGARDENS GRASS FEALED HAS A SPRINKLER LEAK OR THE TIMER IS WAY OFF BECAUSE ITS GETING FLOODED. | APPR | 3 | 2013-06-07 07:14 | GROUNDS
855746 | 3215 | ADCOCK OK ES | RM 17A MP ROOM COULD I GET NEW HOSES FOR THE POWER WASH | APPR | 3 | 2013-06-07 07:45 | GROUNDS
855761 | 3895 | GOLDFARB DAN ES | WASHER, HIGH PRESSURE-EX CELL S# 2251014236 NEED TO BE REPAIRED | APPR | 3 | 2013-06-07 08:09 | GROUNDS
855992 | 3410 | WYNN ES | BLOWER/PULL CORD BROKEN | APPR | 3 | 2013-06-07 11:17 | GROUNDS
856302 | 2245 | KNUDSON KO MS EMP | CUSTODAIL OFFICE BACK PACK BLOWER M#265726492 THE GAS CAP IS BROKEN | APPR | 3 | 2013-06-10 05:43 | GROUNDS
856416 | 3495 | HICKEY LILIAM LUJAN ES | CUSTODIAN POWER WASHER NOT WORKING | APPR | 3 | 2013-06-10 07:03 | GROUNDS
856452 | 3160 | TAYLOR GLEN ES | FIELD AND FRONT PARKING LOT | APPR | 3 | 2013-06-10 07:25 | GROUNDS
856670 | 3590 | TATE MYRTLE ES | KINDER PLAYGROUND EQUIP TREE NEEDS TO BE TRIMMED ON AND AROUND SHADE STRUCTURE | APPR | 3 | 2013-06-10 09:15 | GROUNDS
856944 | 3950 | PETERSEN DEAN ES | FRONT OF SCHOOL GROUNDS | APPR | 3 | 2013-06-10 13:02 | GROUNDS
857085 | 2035 | MANNION JACK & TERRY MS | SPRINKLERS CONTINUOUSLY RUN | APPR | 3 | 2013-06-11 06:13 | GROUNDS
857140 | 3710 | GIVENS LINDA RANKIN ES | SPRINKLER SYSTEM LEAKING IN FRONT MAIN PARKING WEST SIDE OUT INTO LOT AND STREET | APPR | 3 | 2013-06-11 06:49 | GROUNDS
857191 | 3710 | GIVENS LINDA RANKIN ES | DRIPPER BROKEN BY DUMPSTER NEAR BUS LANE | APPR | 3 | 2013-06-11 07:21 | GROUNDS
857210 | 1195 | ELDORADO HS | FOLLOW UP GROUNDS - WATER WAS COMING FROM CONCRETE | APPR | 2 | 2013-06-11 07:31 | GROUNDS
857462 | 6545 | ADULT ENGLISH LANG ACQ SVCS | BLDG D - ADMIN OFFICE - 4204 CHANNEL 10 DR - SINKHOLE | APPR | 3 | 2013-06-11 09:40 | GROUNDS
857473 | 3165 | TAYLOR ROBERT L ES | MANY TREES HANGING DOWN ON TOP OF CARS NEED TO BE PRUNED | APPR | 3 | 2013-06-11 09:43 | GROUNDS
857499 | 3775 | NEAL JOSEPH M ES | PALM TREES NEED TO BE TRIMMED | APPR | 3 | 2013-06-11 10:04 | GROUNDS
857844 | 1045 | LIBERTY HS | LANDSCAPE IN FRONT OF SCHOOL NEW TEACHER ORIENTATIONS | APPR | 3 | 2013-06-12 06:48 | GROUNDS
857935 | 1230 | NW CAREER TECHNICAL ACAD EMP HS | RM 209 ECHO BLOWER PO9212005145 | APPR | 3 | 2013-06-12 08:10 | GROUNDS
858007 | 3880 | EARL IRA J ES | FOLLOW-UP TIMECARD 6/11/2013- TWO BROKEN SPRINKLERS BY MAIN OFFICE | APPR | 3 | 2013-06-12 08:52 | GROUNDS
858174 | 1205 | LAS VEGAS ACADEMY HS EMP | LOWDEN THEATER - INSTALL SHRUBBERY | APPR | 4 | 2013-06-12 11:42 | GROUNDS
858294 | 2205 | LEAVITT JUSTICE MYRON E MS | ROOM 505. ECHO GAS BLOWER S/N 05093933. NEEDS TO HAVE A PM DONE ON IT. ITS NOT RUNNING ALL THAT GREAT. | APPR | 3 | 2013-06-12 14:05 | GROUNDS
858349 | 2120 | BAILEY WILLIAM MS | OUTSIDE PLANTER BOX HAS BROKEN IRRIGATION HEADS ALL OF THE BOX | APPR | 3 | 2013-06-13 06:14 | GROUNDS
858549 | 3985 | SUNRISE ACRES ES | EXTERIOR LEARNING AREA #96 EAST SIDE PLANTERS BUBBLERS SISTEM OVER FLOW WATER GO INSIDE THE BUILDING NEEDS REPAIR, THANK YOU. | APPR | 3 | 2013-06-13 09:27 | GROUNDS
858737 | 3840 | SCHORR STEVE ES | OUTSIDE FRONT OFFICE DOORS 2 LARGE TREES NEED TRIMMING. | APPR | 3 | 2013-06-13 12:00 | GROUNDS
858801 | 3200 | WHITNEY ES | SPINKLER WATER OUTSIEDE PARKIN LOT FROM THE SCHOOL IS NOT WORKING GOOD | APPR | 1 | 2013-06-13 12:52 | GROUNDS
859131 | 3935 | LUNT ROBERT ES | BROKEN SPRINKLER HEAD ON PRE-K PLAYGROUND | APPR | 3 | 2013-06-14 06:47 | GROUNDS
859773 | 3855 | BRACKEN WALTER ES EMP | REMOVE GRASS ACROSS FROM ROOM 3. | APPR | 3 | 2013-06-14 07:46 | GROUNDS
859797 | 5060 | VARIETY | MAIN PLAY GROUND NEAR GREEN HOUSE IRRIGATION SYSTEM NOT WORKING | APPR | 3 | 2013-06-14 08:29 | GROUNDS
859816 | 3030 | COX DAVID M ES | PLEASE COVER THE EXPOSED IRRIGATION PCV PIPES | APPR | 3 | 2013-06-14 08:55 | GROUNDS
859909 | 7080 | SCOTT JESSE D ES | COURTYARD SHRUBS ARE OVERGROWN WITH WEEDS | APPR | 3 | 2013-06-14 10:08 | GROUNDS
859932 | 3125 | MORROW SUE ES | COURTYARD - WEEDS PULLED, TREES & HEDGES TRIMMED, ETC. | APPR | 3 | 2013-06-14 10:37 | GROUNDS
859962 | 5005 | MILEY ACHIEVEMENT CENTER | FRONT OF SCHOOL,MID.,ELEM. AND HIGH SCHOOL QUADS PLANTERS NEED TO BE CUT | APPR | 3 | 2013-06-14 11:21 | GROUNDS
860025 | 3790 | RHODES BETSY ES | MATERIALS AND DEAD LEAVES ACCUMULATING ON GROUNDS NEAR SIGNS AND FENCING | APPR | 3 | 2013-06-14 12:33 | GROUNDS
860073 | 2155 | MONACO MARIO & JOANNE MS | SPRINKLERS THRU OUT THE COURTYARD SPRAYING WATER EVERYWHERE | APPR | 3 | 2013-06-14 13:24 | GROUNDS
860100 | 3370 | SMITH HELEN ES | REQUESTING STREET SWEEP FOR THE BLACKTOP NEAR BASKETBALL COURTS AND PLAY AREA | APPR | 3 | 2013-06-14 14:09 | GROUNDS
860233 | 1205 | LAS VEGAS ACADEMY HS EMP | BROKEN SPRINKLER HEAD NEAR BLACK BOX THEATER | APPR | 3 | 2013-06-17 07:22 | GROUNDS
860637 | 3740 | KAHRE MARC ES | COURTYARD 8 FLOWERS BED PUT DRIP SYSTEM IN | APPR | 3 | 2013-06-17 11:42 | GROUNDS
860860 | 1030 | FOOTHILL HS | PRESSURE WASHER NOT GETTING HOT | APPR | 3 | 2013-06-18 06:25 | GROUNDS
861040 | 3870 | DAILEY JACK ES | TREE ROOTS IN KINDERGARTEN PLAYGROUND ARE EXPOSED | APPR | 3 | 2013-06-18 08:36 | GROUNDS
861136 | 6655 | ADMIN AT AUTONOMOUS ZONE (SECTA CAMPUS) | OUTSIDE MAGNET/CTA OFFICE/CHECK SPRINKLERS | APPR | 3 | 2013-06-18 09:57 | GROUNDS
861148 | 5005 | MILEY ACHIEVEMENT CENTER | BEHIND SCHOOL BUS EXIT GATE STAGNET WATER (FLOODING) | APPR | 3 | 2013-06-18 10:04 | GROUNDS
861190 | 3840 | SCHORR STEVE ES | FRONT ENTRANCE OF SCHOOL, REMOVE TREE | APPR | 3 | 2013-06-18 10:39 | GROUNDS
861845 | 3980 | STANFORD ES | FRONT LANDSCAPE CURBING NEED TO BE REMOVED/REPAIRED | APPR | 3 | 2013-06-19 11:16 | GROUNDS
861868 | 7015 | PARK JOHN S ES EDISON | TREES IN GARDEN AREA NEAR ROOM 67 AND 69 NEED TO BE TRIMMED BACK | APPR | 3 | 2013-06-19 11:43 | GROUNDS
861906 | 3725 | HECKETHORN HOWARD E ES | FRONT OF SCHOOL. PALM TREES NEED TO BE TRIMMED. DEAD BRANCHES ARE FALLING TO THE GROUND | APPR | 3 | 2013-06-19 12:16 | GROUNDS
862074 | 1110 | CHEYENNE HS EMP | SOCCER FIELDS - NEEDS TO BE LINED | APPR | 3 | 2013-06-20 06:44 | GROUNDS
862197 | 3370 | SMITH HELEN ES | PIPE/WATER LEAK COMING FROM CRACK IN BLACK TOP NEXT TO INTERMIDIATE PLAYGROUND | APPR | 3 | 2013-06-20 08:02 | GROUNDS
862504 | 3950 | PETERSEN DEAN ES | FRONT OF SCHOOL REPLACE DEAD PLANTS | APPR | 3 | 2013-06-20 13:16 | GROUNDS
862681 | 3120 | MITCHELL ANDREW ES | FRONT OF SCHOOL/FRONT PARKING LOT | APPR | 3 | 2013-06-21 08:13 | GROUNDS
862689 | 3440 | CORTEZ MANUEL ES | PALM TREES NEED TRIMMING | APPR | 3 | 2013-06-21 08:26 | GROUNDS
862754 | 3030 | COX DAVID M ES | SMALL TREES IN THE KINDER PLAYGROUND NEED MORE WATER | APPR | 3 | 2013-06-21 09:34 | GROUNDS
862865 | 3815 | THOMPSON SANDRA LEE ES | REPLACE 4 DEAD TREES STREETSIDE | APPR | 3 | 2013-06-21 11:48 | GROUNDS
862994 | 3440 | CORTEZ MANUEL ES | COURTYARD NEEDS TO BE CLEANED | APPR | 3 | 2013-06-23 18:12 | GROUNDS
863066 | 3925 | LAKE ROBERT ES | FOLLOW UP - SPRINKLER SPRAYING INTO THE STREET PER WATER DISTRICT | APPR | 3 | 2013-06-24 06:45 | GROUNDS
863094 | 1215 | WEST CAREER & TECHNICAL ACADEMY HS | PLEASE REPAIR LEAKS ON THE TWO IRRIGATION SHUT OFF VALVES | APPR | 3 | 2013-06-24 07:20 | GROUNDS
863161 | 2205 | LEAVITT JUSTICE MYRON E MS | PLEASE TRIM ALL PLAMS AND TREES. THEY HAVE NOT BEEN TRIMMED IN OVER A YEAR. | APPR | 3 | 2013-06-24 08:31 | GROUNDS
863191 | 1155 | CIMARRON-MEMORIAL HS | EAST SIDE OF SCHOOL, REPLACE MISSING PLANTS | APPR | 3 | 2013-06-24 09:18 | GROUNDS
863229 | 3690 | EISENBERG DOROTHY ES | FRONT OF SCHOOL TOP OF THE QUEEN PALMS NEED TO BE TRIMMED AND THERE IS A LARGE SPLIT IN ONE BRANCH OF THE CHIPOLTE TREE WHICH MAY BECOME A HAZARD IF IT BREAKS | APPR | 3 | 2013-06-24 10:06 | GROUNDS
863283 | 1205 | LAS VEGAS ACADEMY HS EMP | POST BUILDING - OUTSIDE OF P5 IN ATRIUM - REMOVE OVERGROWN BUSHES/PALM TREE | APPR | 3 | 2013-06-24 11:30 | GROUNDS
863451 | 5035 | STEWART HELEN J | TREE IN FRONT OF SCHOOL BY FRONT DOORS NEEDS TO BE TRIMMED OR STAKED BACK IT IS BLOCKING AED SIGN | APPR | 3 | 2013-06-25 05:45 | GROUNDS
863606 | 3570 | PRIEST RICHARD ES | POWER WASHER WILL NOT START. LEARNING CENTER | APPR | 3 | 2013-06-25 07:52 | GROUNDS
863626 | 3270 | DONDERO HARVEY N ES | PLAYGROUND AND PARKING LOT NEEDS STREET SWEEPER | APPR | 3 | 2013-06-25 08:13 | GROUNDS
863711 | 6650 | SEIGLE II ADMIN | LANDSCAPING WEEDS AROUND BOTH BUILDINGS A & B | APPR | 3 | 2013-06-25 09:49 | GROUNDS
864083 | 1060 | BONANZA HS | (GROUNDS) SE SIDE OF SCHOOL IN DUST COLLECTOR ENCLOSURE - IRRIGATIONS PUMP LEAKING | APPR | 2 | 2013-06-26 07:59 | GROUNDS
864333 | 1200 | LAS VEGAS HS | HOT WATER PRESSURE WASHER NOT WORKING | APPR | 3 | 2013-06-26 12:05 | GROUNDS
864856 | 2160 | SMITH JD MS | PLANTERS IN THE COURT YARD NEED TRIMMING | APPR | 3 | 2013-06-27 11:03 | GROUNDS
865163 | 3275 | EARL MARION ES | THE OUTSIDE PALMS NEED TO BE TRIMMED. | APPR | 3 | 2013-06-28 07:17 | GROUNDS
865256 | 6235 | ENGLISH LANGUAGE LEARN RESOURCE | OUTSIDE FRONT ENTRY AREA | APPR | 3 | 2013-06-28 08:31 | GROUNDS
865366 | 3820 | TWIN LAKES ES | BACK OF SCHOOL BROKEN WATER HEADS BY ROOM 16 AND ROOM 25 AND IN BACK OF SCHOOL BY ROOM 1 | APPR | 3 | 2013-06-28 09:53 | GROUNDS
WO TTL | 2542
CANCEL | 139
OPEN | 349
COMP | 2053
LABOR | 211737
MATL | 117
L&M | 211854